## Slide 1: Illinois Institute of Technology Laboratory Safety
Chemical Spill Response

## Slide 2: I. Introduction
In most cases, laboratory spills involve small quantities of material and, if precautions are taken, present minimal hazards.
Laboratory workers are usually the most appropriate people to clean up their spills:
  They are more likely than others to be familiar with the spilled material’s hazardous characteristics.
  They can respond at least as quickly or more quickly than anyone else.
  They know about other potential hazards or complicating factors in their work area.
  They are familiar with the proper cleanup techniques for a particular spill.
Chemical Spill Response

## Slide 3: I. Introduction
Some laboratory spills require outside assistance because of the spill’s size, or its unusual hazards.
Trained hazardous material spill responders have learned that it is much better to be overly cautious in responding to a spill than to risk lives for something that “shouldn’t be too dangerous.”
DO NOT downplay the seriousness of potentially hazardous spills.
Chemical Spill Response
(Continued)

## Slide 4: II. Emergency Preparedness
To Prepare for spills, you should:
  Learn about the hazards of the chemicals in your laboratory.
  Read the written response procedures to address those hazards.
  Make sure that you have the equipment and training necessary to follow those procedures.
Chemical Spill Response

## Slide 5: A. Know Your Hazards
As an integral part on any laboratory work, you must identify the hazardous or potentially hazardous properties of all chemicals used or produced in your laboratory.
Before using any chemicals, you should evaluate the consequences of potential spills and develop appropriate response procedures.
Communicate potential hazards to other workers in your area.
II. Emergency Preparedness

## Slide 6: A. Know Your Hazards
When planning laboratory work and preparing for potential problems, determine the hazard class of all the chemicals to be used.
  Read the SDS/MSDS sheet for the chemical
  Read the Chemical Hygiene Plan.
  See if there are any Standard Operating Procedures that apply to the chemical.
II. Emergency Preparedness
(Continued)

## Slide 7: A. Know Your Hazards
The following chemical properties are of most concern when preparing for possible chemical spills:
Flammable
Reactive
Highly Toxic
Corrosive
II. Emergency Preparedness
(Continued)

## Slide 8: B. The Spill Response Procedure
Every laboratory should have written spill response procedures.
Such procedures will detail:
  The initial steps to take when a spill occurs.
  Staff responsibilities
  Communication methods
  Instructions on using spill response equipment
  Spill cleanup and residue disposal
II. Emergency Preparedness

## Slide 9: Location of Information
This information should be included in the Chemical Hygiene Plan
If this information is not in the Chemical Hygiene Plan, it will be located in the Standard Operating Procedure.
B. The Spill Response Procedure

## Slide 10: Contents of the Procedure
Spill response procedures should include elements such as:
  A listing of appropriate protective clothing, safety equipment, and cleanup materials required for spill cleanup with an explanation of their proper use.
  Appropriate evacuation zones and procedures
  Availability of fire suppression equipment
  Disposal containers for spill cleanup materials
  First aid procedures that might be required
B. The Spill Response Procedure

## Slide 11: C. Make Materials and Equipment Available
Before starting any work with chemicals, verify that all necessary safety equipment and spill cleanup materials are available.
Ensure that the individuals who may be involved in spill response are properly trained in equipment use and spill cleanup procedures.
Regularly inspect all materials and equipment to ensure that they will function properly when needed.
II. Emergency Preparedness

## Slide 12: III. First Steps when a Spill Occurs: Communication and Determination
Whenever you spill a laboratory chemical or discover a spill or release, no matter how small or insignificant the spill appears:
  Tell your colleagues
  Tell the Principal Investigator or, in teaching labs, your Professor.
  If possible tell the Department Safety Officer.
Chemical Spill Response

## Slide 13: Chemical Spill Response
When a spill occurs, if possible, you and others should move well away from the area when determining the appropriate response.
There are two types of spills:
  Simple spills, sometimes called nuisance spills
  Complex spills otherwise known as Potentially Hazardous Spills
(Continued)
III. First Steps when a Spill Occurs: Communication and Determination

## Slide 14
COMPLEX Spills Are Spills Of:
Greater Than Four Liters.
Potential Risk is High.
Smaller Spills Of Materials Of:
COMPLEX SPILLS:
Low Ld 50.
Carcinogens.
Flammables.
Unknown Toxicity.
Unknown High Toxicity.
III. First Steps when a Spill Occurs: Communication and Determination

## Slide 15
III. First Steps when a Spill Occurs: Communication and Determination
SIMPLE SPILL:
A Simple spill is a spill which you can clean up yourself
Simple spills are defined as:
  Spills Of Less Than Four Liters Of Material
  The hazards are known
  Does not spread rapidly
  The potential personal risk is low
    Does not endanger people or property except by direct contact
    Does not endanger the environment

## Slide 16: A. Evaluate the Risks
The first step in evaluating whether a spill is “simple” is to estimate the risks created by the spill.
In spill response, the key risks of concern are:
  Human Health Effects
  Physical Damage to Property
  Environmental Damage
III. First Steps when a Spill Occurs: Communication and Determination

## Slide 17: Human Health Effects
Potential Health effects is the most important hazard category to consider when deciding whether or not to attempt a spill cleanup.
Some chemical releases may result in health hazards such as fires or explosions.
Other chemical releases may present health threats because or their ability to spread rapidly and enter the body readily.
A spill is not “simple” if it presents these risks.
A. Evaluate the Risks

## Slide 18: Fire or Explosion
If the potential for fire or explosion exists, seek outside assistance from trained emergency responders.
Releases of flammable chemicals (liquid or solid) can present significant fire and explosion risks when one or more of the following is present
  Volatile vapors
  Water reactive or air reactive chemicals
  Ignition sources
  Oxidizers
  Significant quantities of combustible materials
Human Health Effects

## Slide 19: Toxic
Toxic vapors and dust are also hazardous
Avoid direct contact with such hazards because:
  They spread quickly
  They are easily absorbed through the skin
  They may damage tissue
Human Health Effects

## Slide 20: Toxic
A chemical spill is not a health risk if:
  It has a low toxicity
  It is not highly corrosive,
  It is not a strong oxidizer
Such spills may be considered “simple” only if physical damage or environmental factors are absent.
When a spilled chemical’s toxicity is unknown, treat the spill like a potential human health hazard.
  Avoid exposure
  Seek outside assistance
Human Health Effects

## Slide 21: Physical Damage to Property
The potential for physical damage to property is important when determining whether you have a simple spill.
Property includes items such as:
  Equipment
  Building materials
  Structures
  Cleanup materials
A. Evaluate the Risks

## Slide 22: Physical Damage to Property
A common first response to a spill is to try to protect equipment and property, but any real threat to such items will also threaten the persons cleaning up the spill.
Do not attempt to protect property if there are any human health or fire/explosion hazards present.
Do not attempt to protect property if strong corrosives and oxidizers are present.
If any hazards are present that would damage property, treat the spill as complex and contact the appropriate authorities.
A. Evaluate the Risks
(Continued)

## Slide 23: Environmental Threats
Some laboratory spills have the potential for escaping into the environment.
Spills may release into the atmosphere, discharge into the sewer system, or leak directly into soils or surface water.
While few laboratory spills present environmental threats, it is necessary to notify the appropriate authorities if a spill has the potential to cause environmental damage.
If you can do so safely, it may be prudent to take interim measures before the hazardous materials response team arrives, such as blocking a spreading spill with absorbents or covering the floor drain with a rubber mat.
Though small amounts of some chemicals pose environmental problems, most environmental risks are presented by large-quantity releases of materials.
A large-quantity release that threatens the environment is not a simple spill, and requires the attention of trained responders.
A. Evaluate the Risks

## Slide 24: B. Evaluate Quantities
The next step to take when determining whether a spill is “simple” is to evaluate the quantity of material released.
If a spilled chemical is not hazardous, its cleanup is dependent on the ability to control the spill as well as the availability of sufficient spill control materials.
Factors that may complicate a cleanup effort must be determined on a case-by-case basis.
Examples of such factors are:
  Characteristics of a spill’s surroundings
  The restricted access to a spill.
III. First Steps when a Spill Occurs: Communication and Determination

## Slide 25: III. First Steps when a Spill Occurs: Communication and Determination
If the spilled chemical is hazardous, the threshold quantity for a simple spill cleanup depends on the spilled chemical’s physical properties and hazards.
This quantity depends on the situational factors such as
  The training and experience of laboratory personnel
  The availability of spill control materials
  The availability of personal protective equipment
  The physical layout of the spill location
(Continued)
B. Evaluate Quantities

## Slide 26: III. First Steps When a Spill Occurs: Communication and Determination
The more toxic, corrosive, or flammable a material is, the less likely that the spill can be defined as simple.
Thresholds for flammable liquids and solids, as well as volatile toxics, should be relatively low.
Spills of reactive chemicals should only be managed by trained responders (who may be in-house).
In general, simple spill thresholds for liquids will be lower than the thresholds for solids.
Simple spill thresholds for volatiles will be lower than the thresholds for non-volatiles.
(Continued)
B. Evaluate Quantities

## Slide 27: C. Evaluate Potential Impacts
The third step to take when deciding whether a spill can be managed as a simple spill is to evaluate the potential broader impacts of the spill.
A chemical spill in an area where its potential risks are magnified by specific situations--such as physical situations or the presence of a large number of people--should not be managed as a simple spill.
III. First Steps when a Spill Occurs: Communication and Determination

## Slide 28: C. Evaluate Potential Impacts
For instance, the presence of boxes, chemicals, and other ignition sources would magnify the impact of a one-gallon release of acetone.
Since acetone is highly flammable and volatile, this situation would be immediately dangerous to both human health and property, and cleanup should be handled by an emergency responder.
III. First Steps when a Spill Occurs: Communication and Determination
(Continued)

## Slide 29: C. Evaluate Potential Impacts
Other factors that may magnify a spill’s impact and require emergency response are:
  the possibility that hazardous vapors or dusts might enter the building’s ventilation system and be distributed to other areas;
  the possibility that spilled liquids might flow into other areas, thus expanding the threat of harm (such as reaching ignition sources, exposing other people, or damaging delicate equipment);
  the presence of incompatible chemicals;
  the proximity of classrooms or offices containing people who could be harmed by the spill’s consequences; and
  spills in sinks that might be connected to other sinks through the plumbing system
III. First Steps when a Spill Occurs: Communication and Determination
(Continued)

## Slide 30: C. Evaluate Potential Impacts
When evaluating potential impacts, a prompt response can minimize adverse consequences. On the other hand, an inappropriate response can turn a simple spill into a complex situation.
III. First Steps when a Spill Occurs: Communication and Determination
(Continued)

## Slide 31: C. Evaluate Potential Impacts
To determine whether a spill is simple or complex (which is often the hardest part of spill response), you need to know (1) the hazard(s) posed by the spilled chemical and (2) the spill’s potential impact.
Both these factors are, in large part, determined by the spill size.
The following information will help you determine whether you have a simple spill:
  The type of chemical(s) spilled
  The amount,
  The hazardous characteristics of the spilled chemical(s),
  The location,
  The proper method for cleaning up the spill,
  The personal protective equipment available, and
  The training of the laboratory’s personnel.
III. First Steps when a Spill Occurs: Communication and Determination
(Continued)

## Slide 32: Iv. Recommended Procedures for Cleaning up Simple Spills
For simple spills, emergency responders do not need to be notified. However, you should contact the Department Safety Officer within your facility.
Most importantly, before cleaning up a simple spill, be sure that you can do so safely.
  Have the right personal protective equipment (PPE).
  Additional protective equipment may be required for spills that present special hazards (such as corrosive or reactive spills or spills that have a splash potential).
  If you need a respirator, you should request outside assistance because you do not have a simple spill.
A. General Response Guidelines
Chemical Spill Response

## Slide 33: A. General Response Guidelines
The following steps should be taken during spill cleanup.
Iv. Recommended Procedures for Cleaning up Simple Spills

## Slide 34: 1. Prevent the spread of dusts and vapors
If the substance is volatile or can produce airborne dusts, close the laboratory door and increase ventilation (through fume hoods, for example) to prevent the spread of dusts and vapors to other areas.
A. General Response Guidelines

## Slide 35: 2. Neutralize acids and bases, if possible
Spills of most liquid acids or bases, once neutralized, can be mopped up and rinsed down the drain (to the sanitary sewer).
Be careful because the neutralization process is often vigorous, causing splashes and yielding large amounts of heat.
Neutralize acids with soda ash or sodium bicarbonate.
Bases can be neutralized with citric acid or ascorbic acid.
Use pH paper to determine when acid or base spills have been neutralized.
A. General Response Guidelines

## Slide 36: 3. Control the Spread of Liquid
Contain the spill. Make a dike around the outside edges of the spill.
Use absorbent materials such as vermiculite, cat litter, or spill pillows.
A. General Response Guidelines

## Slide 37: 4. Absorb the liquid
Add absorbents to the spill, working from the spill’s outer edges toward the center.
Absorbent materials, such as cat litter or vermiculite, are relatively inexpensive and work well, although they are messy.
Spill pillows are not as messy as other absorbents, but they are more expensive.
Note that special absorbents are required for chemicals such as hydrofluoric and concentrated sulfuric acids.
A. General Response Guidelines

## Slide 38: 5. Collect and contain the cleanup residues
The neutralized spill residue or the absorbent should be scooped, swept or otherwise placed into a plastic bucket or other container.
For dry powders or liquids absorbed to dryness, double bag the residue using plastic bags.
Additional packaging may be required before the wastes can be transported from your laboratory.
For spills of powders or solid materials, you may need to add a dust suppressant.
Be sure to place descriptive labels on each container.
A. General Response Guidelines

## Slide 39: 6. Dispose of the wastes
Keep cleanup materials separate from normal trash.
Contact the Department of Environmental Health and Safety for guidance in packaging and labeling cleanup residues.
Promptly place cleanup wastes in an appropriate hazardous waste receptacle.
A. General Response Guidelines

## Slide 40: 7. Decontaminate the area and affected equipment
Ventilating the spill area may be necessary.
Open windows or use a fan unless the area is under negative pressure.
In some instances, the Department of Environmental Health and Safety can test the air to ensure that hazardous vapors are gone.
For most spills, conventional cleaning products, applied with a mop or sponge, will provide adequate decontamination.
If you have any question about the suitability of a decontaminating agent, seek expert advice.
A. General Response Guidelines

## Slide 41: B. Special Precautions
The following precautions apply to chemicals that have hazardous characteristics.
NOTE Some chemicals may exhibit more than one characteristic.
Iv. Recommended Procedures for Cleaning up Simple Spills

## Slide 42: 1. Flammable Liquids
Remove all potential sources of ignition.
Vapors are what actually burn, and they tend to accumulate near the ground.
Flammable liquids are best removed through the use of spill pillows or pads.
Spill pads backed with a vapor barrier are available from most safety supply companies.
Because flammable liquids will probably be incinerated, avoid using inert absorbents such as cat litter.
All used absorbent materials should be placed in heavy-duty poly bags, which are then sealed, labeled, and disposed through the hazardous waste management program.
Before resuming work, make sure the spill area has been adequately ventilated to remove flammable vapors.
B. Special Precautions

## Slide 43: 2. Volatile Toxic Compounds
Use appropriate absorbent material to control the extent of the spill.
Spill pillows or similar absorbent material usually work best because they do not have the dust associated with cat litter, vermiculite or corn cobs.
Place all used absorbent materials in heavy-duty poly bags.
Seal the bags, label them, and hand them over to your facility’s hazardous waste management program.
Make sure the spill area has been adequately ventilated before resuming work.
B. Special Precautions

## Slide 44: 3. Direct contact Hazards
Carefully select suitable personal protective equipment.
Make sure all skin surfaces are covered and that the gloves you use protect against the hazards posed by the spilled chemical.
Often it is a good idea to wear two sets of gloves: one as the primary barrier, the second as a thin inner liner in the event the primary barrier fails.
When the cleanup is completed, be sure to wash hands and other potentially affected skin surfaces.
B. Special Precautions

## Slide 45: 4. Mercury spills
Mercury spills rarely present an imminent hazard unless the spill occurs in an area with extremely poor ventilation.
The main exposure route of mercury is via vapor inhalation.
Consequently, if metallic mercury is not cleaned up adequately, the tiny droplets remaining in the surface cracks and crevices may yield toxic vapors for years.
B. Special Precautions

## Slide 46: 4. Mercury spills
First cordon off the spill area to prevent people for inadvertently tracking the contamination over a much larger area.
Generally, a special mercury vacuum cleaner provides the best method of mercury spill cleanup.
DO NOT use a regular vacuum cleaner, because you will only disperse toxic vapors into the air and contaminate your vacuum cleaner.
If a special mercury vacuum is not available, first use an appropriate suction device to collect the big droplets.
Then use a special absorbent (available from most laboratory supply vendors) to amalgamate smaller mercury droplets.
B. Special Precautions
(Continued)

## Slide 47: 4. Mercury spills
Ideally, mercury spills should be prevented in the first place.
Examine all uses of mercury to see if substitutes are available.
If substitutes are not available, use trays or other equipment to provide spill containment.
B. Special Precautions
(Continued)

## Slide 48: C. Documentation
After cleaning up a spill, a simple write-up should be prepared to document what happened, why, what was done, and what was learned.
Such documentation can be used to avoid similar instances in the future.
Major incidents are almost always preceded by numerous near misses.
After a spill, the Chemical Hygiene Plan and/or the SOP should be reviewed and possibly updated to prevent a similar spill from occurring in the future.
Iv. Recommended Procedures for Cleaning up Simple Spills

## Slide 49: C. Documentation
Laboratories seeking to minimize and prevent spills should consider the possible results of their choices and procedures.
Such consideration should focus on reducing the likelihood of spills, as well as minimizing spill damage.
Experimental plans should only involve chemicals that are actually needed for the desired results.
Ideally, laboratories should only store chemicals that will be used within a reasonable period of time.
Additionally, correct chemical and experimental equipment choices must be made
Finally, the laboratory worker must not settle for inappropriate laboratory arrangements.
Iv. Recommended Procedures for Cleaning up Simple Spills
(Continued)

## Slide 50
Contain The Spill.
Leave The Area.
Emergency Decontamination: Eye Wash, Shower, Etc.
Access MSDS/SDS For Follow-on Emergency Procedures.
Notify Supervisory Staff Of Incident.
Emergency Response Notification (911) Or (312) 808-6363.
Report. Gather Information For Spill Report.
Chemical Spills Will Be Contained Using The Think C.L.E.A.N.E.R. Principle
KNOW THE AREA SPILL RESPONSE PROCEDURES:
Chemical Spill Response
Summary

## Slide 51
If you need further assistance, contact the Department of Environmental Health and Safety at (312) 567-3084.

## Slide 52
Thank you to The American Chemical Society “Guide for Chemical Spill Response Planning in Laboratories” for this material.
Reference