## Slide 1
IIT Mies Campus Biological Safety Training
Note: this training is specific to the Illinois Institute of Technology Mies Campus

## Slide 2: What is Biosafety?
Safety during biological experiments
Can also involve chemical or radiological safety
Based on risk assessment

## Slide 3: Laboratory-Acquired Infections
Laboratory-acquired infections (LAIs) occur when a worker in a lab is infected with an agent in use in that lab.
– The worker may or may not have direct contact.
  – Many LAIs, the worker has no recollection of any spill or other exposure.
LAIs reported as early as 1885 (typhoid), 1887(Brucella), and 1893 (tetanus).
One university reported 94 LAIs due to Brucella during the winter of 1938-39.
– Cause: aerosols from centrifuge

## Slide 4: Laboratory-Acquired Infections
Difficult to know the true extent of LAIs.
• LAIs may be symptomatic or
asymptomatic.
• Under-reported, due to fear of reprisal.

## Slide 5: Biosafety in Microbiological and Biomedical laboratories
Use CDC/NIH guidelines for working with biohazardous
materials.
5th edition currently available
  – www.cdc.gov/od/ohs
Describes levels of containment for four hazard levels.

## Slide 6: Principles of Containment
To reduce chances of LAIs, principles of containment were developed.
Based on:
  – Procedures
  – Equipment
  – Facility design
Personnel are protected by equipment and procedures.
Environment is protected by design.

## Slide 7: Biological Safety Cabinet
One form of containment is a Biological Safety Cabinet (BSC).
On the next few slides we will discuss the types of Biological Safety Cabinets and how to use them.

## Slide 8: Biological Safety Cabinets (BSC)
Laminar flow cabinet
  Airflow across work surface towards worker.
  Protects experiment, not worker.
Class I BSC
  Inward airflow protects worker, not experiment.
Class II BSC
  Inward airflow protects worker.
  Downward airflow protects experiment.
Class III BSC
  Totally enclosed, ventilated, air-tight.

## Slide 9: How Does a Class II Biological Safety Cabinet Work?
Directed airflow
  Air Curtain
HEPA-filtered air onto the experiment.
Exterior air is drawn in and through filters.
Contaminated air is filtered before being blown onto work surface or exhausted.

## Slide 10: HEPA Filters
High Efficiency Particulate Air filter
It traps particles, not odors or gasses.
They must be certified annually or after they have been moved.

## Slide 11: Use of a Biological Safety Cabinet
Turn on approximately 5 minutes before beginning work.
Disinfect before and after work.
Keep airflow clear.
Work smoothly and slowly, avid disrupting airflow.
Separate clean and dirty items.
Run for at least 5 minutes after work is complete.

## Slide 12: Biosafety Levels
BSL-1 –for organisms not known to cause disease in healthy adults.
BSL-2 –for organisms that cause human disease of varying severity by ingestion or through percutaneous (through the skin) or mucous membrane exposure.
BSL-3 –for work with organisms with a known potential for aerosol transmission, organisms that can cause serious and potentially lethal infections, and for organisms that are not indigenous or are otherwise exotic in origin.
BSL-4 –for work with organisms that pose a high risk of life-threatening disease by infectious aerosols.

## Slide 13: Reference for this Presentation
Information on the slides containing the CDC logo is copied directly from the Center for Disease Control with slight modification to fit IIT terminology and policies.
To fit the roles at IIT the definition of Responsible Person is either the Principal Investigator in the case of a research lab, or the combination of an Instructor and a Laboratory Safety Officer or Department Safety Officer in the case of an instructional laboratory.

## Slide 14: Biosafety Level 1 – BSL1
BSL1 is suitable for work involving well-characterized agents not known to consistently cause disease in immunocompetent adult humans, and present minimal potential hazard to lab personnel or the environment. The laboratory is not necessarily separated from general building traffic patterns and work is usually conducted on open benchtops using standard microbiological practices. Special containment equipment or facility design is not required, but may be used as determined by appropriate risk assessment. Lab personnel must have specific training in the procedures conducted in the laboratory and must be supervised by a Responsible Person with training in microbiology or a related science.

## Slide 15: BSL1 Standard microbiological Practices
The Responsible Person must enforce the institutional policies that control access to the laboratory.
Persons must wash their hands after working with potentially hazardous materials and before leaving the laboratory.
Eating, drinking, smoking, handling contact lenses, applying cosmetics, and storing food for human consumption must not be permitted in laboratory areas. Food must be stored outside the laboratory area in cabinets or refrigerators designated and used for this purpose.
Mouth pipetting is prohibited; mechanical pipetting devices must be used.

## Slide 16: BSL1 Standard microbiological Practices
Policies for the safe handling of sharps, such as needles, scalpels, pipettes, and broken glassware must be implemented. Whenever practical, engineering and work practice controls that reduce risk of sharps injuries should be used.
Perform all procedures to minimize the creation of splashes and/or aerosols.
Decontaminate work surfaces after completion of work and after any spill or splash of potentially infectious material with appropriate disinfectant.

## Slide 17: BSL1 Standard microbiological Practices
Decontaminate all cultures, stocks and other potentially infectious materials before disposal using an effective method. Depending on where the decontamination will be performed, the following methods should be used prior to transport:
    Materials to be decontaminated outside of the immediate laboratory must be placed in a durable, leak proof container and secured for transport.
    Materials to be removed from the facility for decontamination must be packed in accordance with applicable local, state, and federal regulations.
A sign incorporating the universal biohazard symbol must be posted at the entrance to the laboratory when infectious agents are present. Posted information must include: the laboratory’s biosafety level, the responsible personnel’s name, telephone number, and required procedures for entering and exiting the laboratory. Agent information should be posted in accordance with the institutional policy.

## Slide 18: BSL1 Standard microbiological Practices
An effective integrated pest management program is required.
The Responsible Person must ensure that laboratory personnel receive appropriate training regarding their duties, the necessary precautions to prevent exposures, and exposure evaluation procedures. Personnel must receive annual updates or additional training when procedural or policy changes occur. Personal health status may impact an individual’s susceptibility to infection, ability to receive immunizations or should be provided with information regarding immune competence and conditions that may predispose them to infection. Individuals having these conditions should be encouraged to self-identify to the institution’s healthcare provider for appropriate counseling and guidance.

## Slide 19: Safety Equipment For BSL1
Special containment devices or equipment, such as Biological Safety Cabinets, are not generally required.
Protective laboratory coats, gowns, or uniforms are required by IIT to prevent contamination of personal clothing.
IIT requires wearing protective eyewear in the laboratory.

## Slide 20: Safety Equipment For BSL1
Gloves must be worn to protect hands from exposure to hazardous materials. Glove selection should be based on an appropriate risk assessment. Latex gloves should not be used. Wash hands prior to leaving the laboratory. In addition, BSL-1 workers should:
    Change gloves when contaminated, glove integrity is compromised, or when otherwise necessary.
    Remove gloves and wash hands when work with hazardous materials has been completed and before leaving the laboratory.
    Do not wash or reuse disposable gloves. Dispose of used gloves with other contaminated laboratory waste. Hand washing protocols must be rigorously followed.
Laboratories windows that open to the exterior should be fitted with screens.

## Slide 21: BSL-1
Examples:
  – Bacillus thuringiensis
  – Escherichia coli K-12
  – Brewing/baking yeast
  – Lactobacillus

## Slide 22: Example of a Biosafety Level 1 laboratory
NOTE: Although not shown in the picture, Safety Equipment such as eye protection and gloves is required.

## Slide 23: Biosafety Level 2
Biosafety Level 2 builds upon BSL-1. BSL-2 is suitable for work involving agents that pose moderate hazards to personnel and the environment. It differs from BSL-1 in that: 1) laboratory personnel have specific training in handling pathogenic agents and are supervised by scientists competent in handling infectious agents and associated procedures; 2) access to the laboratory is restricted when work is being conducted; 3) all procedures in which infectious aerosols or splashes may be created are conducted in Biological Safety Cabinets or other physical containment equipment;4) occupant of the laboratory, even if not working on BSL-2 experiments, must follow BSL-2 protocol while BSL-2 agents are present in the laboratory; 5) all use of BSL-2 or higher must be pre-approved by the IIT Institutional Biosafety Committee.

## Slide 24: Microbiological Practices for BSL-2
BSL-2 will use all of the Microbiological Practices that are required for BSL-1.
BSL-2 does require special practices that may not have been required when working with BSL-1.

## Slide 25: Special Practices for BSL-2
All persons entering the laboratory must be advised of the potential hazards and meet specific entry/exit requirements.
Laboratory personnel must be provided medical surveillance, as appropriate, and offered available immunizations for agents handled or potentially present in the laboratory.
IIT will consider the need for collection and storage of serum samples from at-risk personnel.
A laboratory-specific biosafety manual must be prepared and adopted as policy. The biosafety manual must be available and accessible.

## Slide 26: Special Practices for BSL-2
The Responsible Person must ensure that laboratory personnel demonstrate proficiency in standard and special microbiological practices before working with BSL-2 agents.
Potentially infections materials must be placed in a durable, leak proof container during collection, handling, processing, storage, or transport within a facility.

## Slide 27: Special Practices for BSL-2
Laboratory equipment should be routinely decontaminated, as well as after spills, splashes, or other potential contamination.
  Spills involving infectious materials must be contained, decontaminated, and cleaned up by workers properly trained and equipped to work with infectious material.
  Equipment must be decontaminated before repair, maintenance, or removal from the laboratory.

## Slide 28: Special Practices for BSL-2
Incidents that may result in exposure to infectious materials must be immediately evaluated and treated according to procedures described in the laboratory safety manual. All such incidents must be reported to the responsible person and the Department of Environmental Health and Safety. Medical evaluation, surveillance, and treatment should be provided and appropriate records maintained.
Animal and plants not associated with the work being performed must not be permitted in the laboratory.
All procedures involving the manipulation of infectious materials that may generate an aerosol should be conducted within a BSC or other physical containment devices.

## Slide 29: Safety Equipment for BSL-2
Properly maintained Biological Safety Cabinets, other appropriate personal protective equipment or other physical containment devices must be used whenever:
    Procedures with a potential for creating infectious aerosols or splashes are conducted. These may include pipetting, centrifuging, grinding, blending, shaking, mixing, sonicating, opening containers of infectious materials, inoculating animals intra-nasally, and harvesting infected tissues from animals or eggs.
    High concentrations or large volumes of infectious agents are used. Such materials may be centrifuged in the open laboratory using sealed rotor heads or centrifuge safety cups.

## Slide 30: Safety Equipment for BSL-2
Protective laboratory coats, gowns, smocks, or uniforms designated for laboratory use must be worn while working with hazardous materials. Remove protective clothing before leaving for non-laboratory areas, e.g., hallway, cafeteria, library, and administrative offices). Dispose of protective clothing appropriately, or deposit it for laundering by the institution. It is recommended that laboratory clothing not be taken home.
Eye and face protection (goggles, mask, face shield or other splatter guard) is used for anticipated splashes or sprays of infectious or other hazardous materials when the microorganisms must be handled outside the Biological Safety Cabinet or containment device. Eye and face protection must be disposed of with other contaminated laboratory waste or decontaminated before reuse. Persons who wear contact lenses in laboratories should also wear eye protection.

## Slide 31: Safety Equipment for BSL-2
Gloves must be worn to protect hands from exposure to hazardous materials. Glove selection should be based on an appropriate risk assessment. Latex gloves should not be used. Gloves must not be worn outside the laboratory. In addition, BSL-2 laboratory workers should:
  Change gloves when contaminated, glove integrity is compromised, or when otherwise necessary.
  Remove gloves and wash hands when work with hazardous materials has been completed and before leaving the laboratory.
  Do not wash or reuse disposable gloves. Dispose of used gloves with other contaminated laboratory waste. Hand washing protocols must be rigorously followed.

## Slide 32: Safety Equipment for BSL-2
Eye, face and respiratory protection must be used in rooms containing infected animals as determined by the risk assessment.
Secondary containment must be used when moving samples from one room to another or from one area of the room to another area in the room.

## Slide 33: Laboratory Facilities (Secondary Barriers) for BSL-2
Laboratory doors should be self-closing and have locks in accordance with the institutional policies.
Laboratories must have a sink for hand washing. The sink may be manually, hands-free, or automatically operated. It should be located near the exit door.
The laboratory should be designed so that it can be easily cleaned and decontaminated. Carpets and rugs in laboratories are not permitted. Eye, face and respiratory protection must be used in rooms containing infected animals as determined by the risk assessment.

## Slide 34: BSL2
Examples:
  – Hepatitis B virus
  – HIV
  – Campylobacter spp.
  – Clostridium botulinum
  – Listeria monocytogenes
  – Salmonella spp.

## Slide 35: Biosafety Level 2 Laboratory

## Slide 36: BSL-3 and BSL-4
At this time, the Meis Campus of IIT does not have facilities to support the use BSL-3 or BSL-4.
The Biosafety committee can assist researchers that want to use this type of material.
This presentation will define what Biosafety Level 3 and Biosafety level 4 are but will not go into great detail about working with BSL-3 or BSL-4.

## Slide 37: BSL-3
Biosafety level 3 is applicable to clinical, diagnostic, teaching, research, or production facilities where work is performed with indigenous or exotic agents that may cause serious or potentially lethal disease through the inhalation route of exposure. Laboratory personnel must receive specific training in handling pathogenic and potentially lethal agents, and must be supervised by scientists competent in handling infectious agents and associated procedures.
All procedures involving the manipulation of infectious materials must be conducted within Biological Safety cabinets or other physical containment devices.
A BSL-3 laboratory has special engineering and design features.

## Slide 38: BSL-3
Examples:
  Mycobacterium tuberculosis
  Coxiella burnetii
M. tuberculosis

## Slide 39: Biosafety Level 3 Laboratory

## Slide 40: BSL-4
Biosafety Level 4 is required for work with dangerous and exotic agents that pose a high individual risk of aerosol-transmitted laboratory infections and life-threatening disease that is frequently fatal, for which there are no vaccines or treatments, or a related agent with unknown risk of transmission. Agents with a close or identical antigenic relationship to agents requiring BSL-4 containment must be handled at this level until sufficient data are obtained either to confirm continued work at this level, or re-designate the level. Laboratory staff must have specific and thorough training in handling extremely hazardous infectious agents. Laboratory staff must understand the primary and secondary containment functions of standard and special practices, containment equipment, and laboratory design characteristics. All laboratory staff and supervisors must be competent in handling agents and procedures requiring BSL-4 containment. The Responsible Person, in accordance with institutional policies controls access to the laboratory.

## Slide 41: BSL-4
There are two models for BSL-4 laboratories:
  A Cabinet Laboratory – Manipulation of agents must be performed in a Class III Biological Safety Cabinet; and
  A Suit Laboratory – Personnel must wear a positive pressure supplied air protective suit.
BSL-4 cabinet and suit laboratories have special engineering and design features to prevent microorganisms from being disseminated into the environment.

## Slide 42: BSL-4
Examples:
  – Ebola virus
  – Marburg virus
  – Crimean-Congo hemorrhagic fever
• Fully contained away from operator.
• Two types of containment:
Ebola virus

## Slide 43: BSL-4 Cabinet Laboratory
A series of Type III Biological Safety Cabinets interconnected.
May have airlocks between.
Exit through autoclave or dunk tank.

## Slide 44: BSL-4 Suit Laboratory
All personnel in positive pressure protective suit.
cdc.gov

## Slide 45: Biosafety Level
REMEMBER!!
• An organism may have a suggested minimum biosafety level;
• A combination of organism and practice are assigned a biosafety level.
• Perform risk assessment to determine biosafety level.

## Slide 46: Risk Assessment
Agent Hazards
  Pathogenicity of agent.
  Recommended minimum BSL?
Laboratory Procedure hazards.
  Aerosol generation.
  Large quantities.
  Animals.
  Skill/experience of personnel.

## Slide 47: Items in the Biosafety Manual
General
  Hands away from face, hair up.
  No personal items (cell phone, Ipad) in lab.
  No dangly jewelry, bulky clothing.
  WASH HANDS.

## Slide 48: Items in the Biosafety Manual
Housekeeping
  Keep lab tidy.
  Decontaminate regularly.
    Before work.
    After a spill.
    After completing work.
  Label things properly.

## Slide 49: Minimize Aerosols
Pipettes
  Mechanical pipetting only.
  NEVER mouth-pipette.
  Discard horizontally (in the biosafety cabinet).

## Slide 50: Minimize Aerosols
Centrifuges
  Use sealed rotors or cups.
  Open rotors in the Biosafety Cabinet.
  Make sure equipment is well maintained.

## Slide 51: Minimize Aerosols
Mixing done in capped containers, opened in the Biological Safety Cabinet.
Avoid flaming.
Use splash shields, and regularly decontaminate automated equipment.
Contain known aerosols.

## Slide 52: Needles/Sharps
Use plastic ware whenever possible.
Use needles only when required.
Discard all biologically contaminated sharps in a red sharps container.
Use tongs or dustpan for broken glassware.

## Slide 53: Spill Cleanup
Outside the Biological Safety Cabinet
  Try not to inhale.
  Leave the area, notify everyone of the spill.
  Remove contaminated PPE, wash ands and face.
  Close the door, put up do-not-enter sign.
  Get Help.
  After 30 minutes, put on fresh PPE, re-enter the room.
  Cover the spill with absorbent material
  Pour (don’t spray!) disinfectant.
  Allow contact time.
  Disinfect equipment, clean up other mess.
  Wipe up, properly discard absorbed spill.

## Slide 54: Biological Safety Cabinet Spill Cleanup
Inside the Biological Safety Cabinet
  Cover the spill with paper towels.
  Pour (don’t spray!) disinfectant.
  Allow contact time.
  Wipe up and discard.
  The Biological Safety Cabinet should run at least 10 minutes afterwards.

## Slide 55: Removing Equipment
Contaminated equipment must be decontaminated before removal from the laboratory. At IIT all equipment in the laboratory is considered contaminated.

## Slide 56: Personal Protective Equipment (PPE)
Reusable PPE ( safety glasses, face shields, etc.) must be disinfected.
Disinfectant wipes may be used.

## Slide 57: Reminder: Don’t Forget to Check Gloves Before Wearing!
Are they the proper type?
Are they torn?
If they are disposable, assure that they are not reused. Disposables should be discarded after they have been removed from a workers hands.

## Slide 58: Personal Protective Equipment (PPE)
Remember
  You must wear a lab coat and safety glasses in the lab.
  Other PPE will be determined by the experiment.
Remove all PPE before exiting the lab.
NO PPE
  In the restrooms, library, office areas, cafeteria or in the hallway unless you are transporting a sample.

## Slide 59: RIGHT
WRONG

## Slide 60: Labels
Use the Biohazard label on equipment that could be contaminated.
Label thoroughly
Please use English.

## Slide 61: Bloodborne Pathogens
Take Universal precautions.
Have a Bloodborne Pathogen Exposure Control Plan
You will be required to have more training if you are working in these types of labs.

## Slide 62: Final Thought
WASH YOUR HANDS

## Slide 63: Questions?
If you have any questions about Biological Hazards, please contact the Department of Environmental Health and Safety at 312-567-3084
Or contact the Institutional Biosafety Committee at Diel@iit.edu